## Slide 1
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
Advanced Imaging Methods Using Coded Aperture Digital Holography
Joseph Rosen
School of Electrical and Computer Engineering,
Ben-Gurion University of the Negev, Beer-Sheva, ISRAEL
Holography meets Advanced Manufacturing
February 2023

## Slide 2
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
The advanced model of computational imaging
Coded Aperture Digital Holography is part of Computational Imaging
Introduction

## Slide 3
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
Computational Imaging
Goals for the development of optical imaging technology
3D Imaging
y
10-9
10-15
The last two figures are adapted from: Chao Zuo, Qian Chen. Computational optical imaging: An overview[J]. Infrared and Laser Engineering, 2022, 51(2): 20220110 (in Chinese)
2D

## Slide 4
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
Historical Introduction of Holography for Imaging
Coherent Light
Incoherent Light
Optical Hologram
Digital Hologram
Leith-Upatnieks
Off-Axis Hologram (1962)
Stroke-Restrick Self-Interference Holograms (1965)
Goodman-Lawrence, Off-Axis Digital Hologram (1967)
Yamaguchi-Zhang, On-Axis Digital Hologram (1997)
Optical Scanning Hologram (T.C. Poon, 1985)
Multiple View Projection Hologram (2001)
Vander Lugt, Fourier Hologram (1964)
Gabor Hologram (1948)
Fresnel Incoherent Correlation Holography (FINCH 2007)
Fresnel Incoherent Correlation Holography (FINCH 2007)

## Slide 5
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
FINCH Fluorescence Microscope (2013)

## Slide 6
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
FINCH fluorescence microscope
G. Brooker, N. Siegel, J. Rosen, N. Hashimoto, M. Kurihara, and A. Tanabe, Optics Letters 38, 5264–5267 (2013).
(a) Widefield and (b)–(d) reconstructed FINCH images of pollen grains captured using a 20× (0.75 NA) objective, showing the ability of FINCH to refocus at depths that were out of focus under widefield conditions.

## Slide 7
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
FINCH fluorescence microscope
Schematics of FINCH recorders: (a) a dual lens FINCH system; (b) a confocal FINCH system. Lo, objective lens; Lc, converging lens; SLM1 and SLM2, spatial light modulators; P1 and P2, polarizers; CCD, charge-coupled device.
Goal: Achieve optical sectioning in FINCH.
  ‘Phase pinhole’:
Added cost: target scanning.
(a)
(b)
R. Kelner, B. Katz, and J. Rosen, "Optical sectioning using a digital Fresnel incoherent-holography-based confocal imaging system," Optica 1, 70-74 (2014).
phase clear
pinhole aperture
2

## Slide 8
Confocal Fresnel Incoherent Correlation Holography
Results (wide-field illumination)
(a) FINCH reconstruction of a 16.0 cycles/mm resolution chart located 30cm away from the objective lens, with the 18.0 cycles/mm resolution chart at 31cm; (b) FINCH reconstruction of a 18.0 cycles/mm resolution chart located 30cm away from the objective lens, with the 16.0 cycles/mm resolution chart at 29cm; (c) and (d) are the optical-sectioning-FINCH equivalents of (a) and (b), respectively.
R. Kelner, B. Katz, and J. Rosen, "Optical sectioning using a digital Fresnel incoherent-holography-based confocal imaging system," Optica 1, 70-74 (2014).
FINCH
Optical-sectioning-FINCH
FINCH
Optical-sectioning-FINCH
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev

## Slide 9
I-COACH (2017)
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
Interferenceless Coded Aperture Correlation Holography I-COACH
The hologram is recorded without two beam interference
Optical Mask
A. Vijayakumar and J. Rosen, “Interferenceless coded aperture correlation holography–a new technique for recording incoherent digital holograms without two-wave interference,” Opt. Express 25(12) 13883-13896 (2017).
A. Vijayakumar, Y. Kashter, R. Kelner, and J. Rosen, "Coded aperture correlation holography–a new type of incoherent digital holograms," Opt. Express 24, 12430-12441 (2016).

## Slide 10
Point-Response Library
3D-I-COACH
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
1. System Calibration
SLM
A. Vijayakumar and J. Rosen, "Interferenceless coded aperture correlation holography- a new technique for recording incoherent digital holograms without two-wave interference," Optics Express 25, 13883-13896 (2017).
3
1
2
4

## Slide 11
3D-I-COACH
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
2. Recording hologram of 3D object
SLM
Object hologram
Multi-Plane Object

## Slide 12
3D-I-COACH
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
3. Image Reconstruction
Object hologram
CORRELATION
=
Point-Response Library
3
1
2
4

## Slide 13
I=Oϴh
Nonlinear image Reconstruction
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
M.R. Rai, A. Vijayakumar, and J. Rosen, "Non-linear adaptive three-dimensional imaging with interferenceless coded aperture correlation holography (I-COACH)," Opt. Express 26, 18143-18154 (2018).
Linear Reconstruction: I=Oϴh’
Optimal Reconstruction: hϴh’=δ
In Fourier Plane: H·H’*=|H|exp(iΦH)·|H|rexp(-iΦH)=|H|r+1
Optimal Reconstruction: |H|r+1 =Constant
r=-1→ Inverse Filter
Instead, Nonlinear Reconstruction:
|H|oexp(iΦH)·|H|rexp(-iΦH) =|H|o+r
Where o and r are chosen as the parameters that minimize some cost function
Nonlinear Reconstruction of the Object:
I=FT-1{|O|oexp(iΦO)·|H|rexp(-iΦH)}
O=Object h=Impulse Response
I=Image ϴ=Correlation
h’=Reconstructing Function

## Slide 14
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
Algorithm result without SLM
    CAFIR - Coded Aperture with FINCH Intensity Responses
z1
z2
(a)
fo
zh
Lens Lo
Quadratic Phase Masks
Digital Camera
z1
z2
fo
zh
Coded Phase Mask
Digital Camera
fo
zh
Coded Phase Mask
Digital Camera
(c)
(b)
fo
zh
Coded Phase Mask
Digital Camera
(d)
Lens Lo
Lens Lo
Lens Lo
FINCH
COACH
I-COACH
CAFIR
A. Bulbul, N. Hai, and J. Rosen, "Coded aperture correlation holography (COACH) with a superior lateral resolution of FINCH and axial resolution of conventional direct imaging systems," Opt. Express 29, 42106-42118 (2021).

## Slide 15
Department of Electrical & Computer Engineering
Ben-Gurion University of the Negev
Coded Aperture with FINCH Intensity Responses (CAFIR)
15
(a1-a3), (b1-b3) and (c1-c3), (d1-d3) recorded intensity for point-object (h) and object (H) respectively with Ф= 0, 2π/3 and 4π/3 (a4, a5); (b4, b5) and (c4, c5), (d4, d5) phase and magnitude of superimposed PSH and object holograms for CAFIR and FINCH, respectively. (e) Direct imaging, (f) POF reconstructed image for CAFIR (g) FINCH reconstructed image.

## Slide 16
Department of Electrical & Computer Engineering
Ben-Gurion University of the Negev
Coded Aperture with FINCH Intensity Responses (CAFIR)
16
Average cross-sections of gratings of direct image and reconstructed images with FINCH and CAFIR with f1=32 cm
Axial distance of pinhole from f0 in mm.
Direct image and reconstructed images with FINCH and CAFIR with f1=32 cm at different axial distances from f0 varying between 10 to -10 mm with 5 mm intervals.

## Slide 17
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
Depth of Field Engineering-incoherent imaging
Goal: imaging objects positioned at different sub-volumes of the object space, and only in these sub-volumes.
M. Rai and J. Rosen, "Depth-of-field engineering in coded aperture imaging," Opt. Express 29, 1634-1648 (2021).

## Slide 18
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
Depth of Field Engineering
Phase mask displayed on the SLM for each sub-volume is the product of 3 phase masks:
Diffractive Spherical Lens (DSL) – defines the axial location of the sub-volume.
Radial Quartic Phase Function (RQPF) – defines the axial length of the sub-volume or the DOF.
Coded Phase Mask (CPM)– Responsible to the point response on the camera plane in the form of sparse, randomly distributed, dots.

## Slide 19
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
Depth of Field Engineering
Multiplexing process of two sets of phase masks for multi-volume imaging.

## Slide 20
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
Depth of Field Engineering
Reconstructed image when the same CPM was used for both subvolumes.
Direct images with an overlap between the objects because they are placed on the same sightline.
Reconstructed image with PSH of subvolume 1
Reconstructed image with PSH of subvolume 2

## Slide 21
z2
Lens L1
Imaging of 2 points Positioned along the Z Axis
z1
Image Sensor
STIR - Sectioning by Tilted Intensity Rods
Department of Electrical & Computer Engineering
Ben-Gurion University of the Negev
z2
Lens L1
Regular Lens-Based Imaging system
Lens L2
z1
z2
Lens L1
System with Phase Mask
ϴ
z1
d
z2
Lens L1
System with Multiple Phase Masks
z1
Image Sensor Plane
N. Hai, and J. Rosen, “Single Viewpoint Tomography Using Point Spread Functions of Tilted Pseudo-Nondiffracting Beams in Interferenceless Coded Aperture Correlation Holography with Nonlinear Reconstruction,” SSRN 4216569
Point Spread Function
3
1
Notes: Your solution
Please describe your solution
Elaborate on the parts that are relevant to your improvement e.g., if the main advantage of your invention is the use of low temperatures, please emphasize this aspect
Please describe what was done in your lab during the past year and at what stage is the research these days e.g., did you perform in vitro or in vivo experiments, built a prototype, ran simulations

## Slide 22
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
  Quantitative Phase Imaging
BS
M
θ
M
BS
Goal: Quantitative Phase imaging of coherently illuminated objects
N. Hai, and J. Rosen, “Coded aperture correlation holographic microscope for single-shot quantitative phase and amplitude imaging with extended field of view,” Opt. Express 28(19), 27372-27386 (2020).

## Slide 23
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
  Quantitative Phase Microscopy
  using Coherent Sparse COACH
Off-axis hologram recorded using Coherent Sparse COACH containing image replications
The phase of its filtered signal after phase background subtraction.
Quantitative phase imaging of USAF pure phase resolution chart using Coherent Sparse COACH
Quantitative phase imaging of USAF pure phase resolution chart using standard open aperture holography
 | Open aperture | CS-COACH
Phase element MSE (blue dashed square) | 1.97e-3 | 1.92e-3
Substrate MSE (yellow dashed square) | 10.86e-4 | 7.06e-4
Phase element height [nm] | 273 | 267

## Slide 24
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
  Quantitative Phase Imaging
Goal: Quantitative Phase imaging by a single shot on-axis system
Modified GSA, based on the optical system, to reconstruct the quantitative phase values at the object plane.
Optical configuration used to record a phase contrast image of pure phase objects

## Slide 25
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
phase plot of the 6 μm diameter Polystyrene microspheres reconstructed in a similar method
  Quantitative Phase Imaging
150 nm
250 nm
Phase-contrast images of phase targets captured by the camera
Quantitative phase images obtained from the modified GSA output after initialization with the corresponding phase contrast images
(e1) Intensity image captured by the camera without the phase contrast operation and (e2) the corresponding phase reconstruction by using the modified GSA.
Phase plot of the 6 μm diameter Polystyrene microspheres reconstructed in a similar method

## Slide 26
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
  Quantitative Phase Imaging
Phase object | Phase contrast-based phase retrieval |  | Holography
USAF 1951 phase target (150 nm) | 161 nm |  | 170 nm
USAF 1951 phase target (250 nm) | 244 nm |  | 267 nm
Polystyrene microspheres (6 μm diameter) | 6.04 μm |  | 5.78 μm
Quantitative analysis
Convergence plots of the recovered phase distribution from the modified GSA. Normalized (to the initial MSE) mean square error (MSE) in log scale as a function of the iteration number in linear scale, for the three examined objects and a simulated object shows that convergence to MSE<10-3 is achieved within a maximum of 10 iterations.
N. Hai, and J. Rosen, “Phase contrast-based phase retrieval: a bridge between qualitative phase contrast and quantitative phase imaging by phase retrieval algorithms,” Opt. Lett. 45(20), 5812-5815 (2020).

## Slide 27
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
Conclusions and Challenges
Inventions can sometimes be nothing more than a new and unexpected combination of well-known and unrelated ideas. Therefore, it is essential to read about other close or far studies and to stay open-minded to as many as possible influences from others.
Incoherent imaging with synthetic aperture imaging should be explored further. Instead of working with a baseline interferometer, a method based on local detection should be studied.
Better methods should be explored in the areas of image sectioning, tomography, and imaging through a scattering medium.

## Slide 28
Acknowledgment
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
Dr. Angika Bulbul
PhD Student
Prof. Vijayakumar Anand PostDoc
Dr. Saswata Mukherjee
PhD Student
Nitin Dubey
PhD Student
Dr. Nathaniel Hai
PhD Student
Jawahar Desai
PhD Student
Prof. Ravi Kumar
PostDoc
Thank you for your attention
Dr. Manoj Kumar
PostDoc
Dr. Roy Kelner
PhD Student
Dr. Yuval Kashter
PhD Student
Dr. Mani R. Rai
PhD Student
Dr. Barak Katz
PhD Student

## Slide 29
School of Electrical & Computer Engineering
Ben-Gurion University of the Negev
Thank you for your attention
Questions/comments are welcome.