## Slide 1: New medical imaging, Physics, Medical Need and Commercial Viability
Zoltan Vilagosh
Swinburne University of Technology

## Slide 2
Things Change Slowly in Medical Land…
Pulse Oximeter

## Slide 3
Things Change Slowly in Medical Land…
Nuclear Medicine – 1950’s
Ultrasound – 1960’s
CT – 1970’s
MRI - 1980’s

## Slide 4
The dead hand of Physics

## Slide 5
The dead hand of Physics
Deep body imaging only with frequencies under the yellow line (absorption coefficient of <0.1/cm)

## Slide 6
The dead hand of Physics
Radio waves and microwaves are utilised by electrocardiography, electroencephalography and MRI
Diagnostic X-rays, CT scans, Nuclear Scans

## Slide 7
The dead hand of Physics
GHz, THz, Infrared frequencies
Diagnostics of surface lesions, destroying surface lesions like melanoma – dial the depth of destruction by selecting frequency of the radiation.

## Slide 8
The dead hand of Physics
Ultrasound
Penetration decreases with increased frequency
Resolution increases with increased frequency
Air is a poor conductor of high frequencies (conductive gel, long time with trained operator, inconsistency)

## Slide 9
Medical Need
Core hydration meter

## Slide 10
Medical Need
Techniques that replace a procedural intervention with an imaging modality
Of the patients with positive fecal occult blood test, 58% will have normal colonoscopy

## Slide 11
Medical Need
Techniques that improve accuracy to avoid procedural intervention
Accuracy of MRI for knee cartilage lesions between 15% and 60%

## Slide 12
Medical Need
Better techniques that show how things work, not just how they look
Cardiology is good at this, the rest not so good – problems with field of view

## Slide 13
Commercial viability
The physics may be right, the need is there, but they will not pay!
MRI is expensive but they pay – the information is really important
What would I pay for a hydration meter?
$100 ? Probably …
$10,000? Not likely…

## Slide 14
The sweet spot